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	School
	Architect

	Date


DAS - OFFICE OF SCHOOL CONSTRUCTION GRANTS & REVIEW (OSCG&R) PLAN REVIEW CHECKLIST
FIXTURES, FURNISHINGS, & EQUIPMENT (FF&E) 

FORM SCG-3015
· Fixtures, Furnishings, and Equipment are eligible for reimbursement only when part of a Major Building Project, project type “New”, “Renovation”, “Extension”, or “Alteration”
· Do not use Not Applicable (N/A). Use “None”, “NPS” (Not in Project Scope), or explain condition
· Submit completed Pre-Bid Conformance Review (PCR) Checklist with this completed form
· Status column (by SCG staff):    P   Accepted      ¡  Open Item

	
	
Status

	
	Drawings
	Specifications
	

	01.
	Documentation: Drawings and Specifications
	
	
	

	02.
	Location plans with items identified and quantified
	
	
	

	03.
	Product / Item Data Sheet (IDS) of major items
	
	
	

	04.
	Code Compliance Notes and compliance verification shown on location plans and IDS sheets
	
	
	

	05.
	  Secure / seismic attachment note on plans and IDS for floor-mounted, ceiling-mounted, and wall-mounted items
	
	
	

	 06.
	Room-by-room location list on drawings or as separate document
	
	
	

	07.
	Identification of extended warranties and service contracts 
[Note – the costs related to extended warranties and service contracts are ineligible for reimbursement, and must be shown on line 52 of FORM SCG-4000, the Ineligible Costs and Limited Eligible Costs Worksheet]
	
	
	

	08.
	  
  Workstations, desks, appliances, etc. 
For adults, both students and staff (Including for persons with disabilities). Provide product data sheets with manufacturer's dimensions of knee and toe clearance (30"w, 27"h, 19"d) and height of tables, counters, and work surfaces (28” to 34" to top)
	
	
	

	09.
	  
  Workstations, desks, appliances etc. 
  For children (including children with disabilities).  Provide product data sheets with manufacturer's dimensions for knee and toe clearance (30"w, 24"h, 19"d) and height of tables, counters, and work surfaces (26” to 30" to top)
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