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DAS - OFFICE OF SCHOOL CONSTRUCTION GRANTS & REVIEW (OSCG&R) PLAN REVIEW CHECKLIST
STAND-ALONE
ROOF REPLACEMENT PROJECT
FORM SCG-3019
· Do not use Not Applicable (N/A). Use “None”, “NPS” (Not in Project Scope), or explain condition.
· Submit completed Pre-Bid Conformance Review (PCR) Checklist with this completed form.
· Status column (by SCG staff):       Accepted        Open Item

	NOTE: Effective 6/1/19 a sketch of the site within 30'-0" of the roof to be replaced must be included in the final CD set. See item 03.(d)
	
Status

	
	Drawings
	Specifications
	

	01.
	New roof insulation must meet energy requirements of Connecticut State Building Code. Provide roof assembly "R" value(s).
	
	
	

	02.
	Roof plans and specifications – show / indicate:
	
	
	

	
	a. All new roof surfaces
	
	
	

	
	b. All new roof construction
	
	
	

	
	c. Roof drainage and slopes to drains and scupper locations
	
	
	

	
	d. Walkway pad locations
	
	
	

	
	e. Roof details
	
	
	

	
	    f.  Photovoltaic installation requirements                 (if applicable)






	
	
	

	03.
	Partial site plan or location plan– show / indicate:
	

	
	

	
	a. All new underground piping for rain water               (if applicable)
	
	
	

	
	b. Contractor staging area
	
	
	

	
	c. Extent of site disturbance and remediation 
	
	
	

	
	d. Trees and shrubs within 30'-0" of roof area
	
	
	

	04.
	Fall protection at skylights and roof hatches (OSHA 1910.23)
	
	
	

	05.
	  Guards for mechanical equipment within 10 feet of a roof edge or open side of a walking surface. (I.M.C 304.10)
	
	
	

	 06.
	FORM SCG-3045 Roof Key Plan with Legend                          (8½” x 11” or 11” x 17” format)
	
	
	

	07.
	20-year minimum, all inclusive, non-prorated roof warranty by membrane manufacturer
	
	
	

	
	 a. Provide copy of warranty upon completion
	
	
	

	  08.
	Completed and signed FORM SCG-4000 Ineligible Costs and Limited Eligible Costs Worksheet (ICW)
	
	
	

	
09.
	Scope Letter with explanation of eligibility for roof drains, gutters, downspouts, access hatches, skylights, lightning protection, etc.
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