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ITEM #0219011A – sediment control system at catch basin

Description:  Work under this item shall consist of furnishing, installing, maintaining, replacing, and removing sediment control system at catch basins, herein referred to as Silt Sack, at the locations as shown on plans or as directed by the Engineer.  The work shall also include removal of accumulated sediment, and disposal of accumulated sediment,

Materials:  The Silt Sack must be commercially produced and marketed for the specific application(s) on the Project.  All Silt Sack must be manufactured from a specially designed woven polypropylene geotextile sewn material.  The Silt Sack must be able to handle flows of at least 180 gallons per minute per square foot, fit any sized catch basin or drop inlet, and be UV resistant.

The Silt Sack product shall be one of the following or an approved equal: 

1. Siltsack®
2. Dandy Sack®
3. FleXstorm Catch-It™
4. PIG®Sediment-Drain Filter
5. ACF Environmental Silt Sack

The Sediment Control System at Catch Basin must have the following features: two dump straps attached at the bottom to facilitate the emptying of the Silt Sack and lifting straps to be used to lift the Silt Sack from the catch basin or drop inlet.  The Silt Sack shall have a restraint cord approximately halfway up to keep the sides away from the catch basin or drop inlet walls. When required, a curb deflector shall be installed as directed by the Engineer.

Product Data for the Silt Sack to be used by the Contractor must be submitted for review and acceptance by the Engineer or their authorized delegate prior to the installation on-Site.

Construction Methods:  The Contractor shall install the Silk Sack per the manufacturer’s instructions and recommendations at each catch basin or drop inlet as shown on the plans or as directed by the Engineer to provide inlet protection to prevent silt, sediment, or debris from entering the stormwater drainage system.

When the Silt Sack becomes 1/2 full of accumulated sediment, the Contractor shall empty, clean, and replace the Silt Sack back into the catch basin or drop inlet.  Sediment emptied shall be considered unsuitable material and be disposed of at an off-Site approved upland facility per federal, State, and local environmental laws and regulations.

At the completion of the Project, the Contractor shall remove all Silt Sacks within the Project limits.  Any spilled sediment material during removal operations shall be removed by the Contractor at no cost to the State.

Method of Measurement:  Sediment Control System at Catch Basin will be measured as each installed, maintained, accepted, and removed.  There will be no separate measurement for maintenance or replacement associated with this item.

Basis of Payment: The item “Sediment Control System at Catch Basin” will be paid at the Contract unit price for each completed system in place and accepted, which price shall include installing, maintaining, replacing, removal of material, off-Site disposal of accumulated material, materials, equipment, tools, and labor incidental thereto.

The cost of installing hay bales, geotextile, check dam, or fiber roll for inlet protection shall be paid for under their respective Contract item or special provision.
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